## Slide 1
Clinical trial
Research scope
Subject acquisition & trial
Pre-analytics
Data Processing
Peak integration
Peak evaluation
Imputation
Normalization
Scaling
Data Analysis
Machine learning
Classical statistics
Clinical translation
Biobanking & Analyte extraction
Detection
Separation
of analytes
QM/QA
#
LC-MS analytics
Planning phase
Quality management and assurance is mandatory in every stage of a study

## Slide 2
Epidemiological data
$
Clinical Scope
Funding
Clinical data
Diagnosis
Medication
Demographics
Subject stratification
Trial design
Cohorts
Blinding
Randomization
Controls
Study & trial design
#
Data scientists
Stakeholders
Clinicians
Analysts
Patient representative
Ethics council
Ethics approval
A
B
C
Study sites
Subject recruitment
Sampling

## Slide 3
Sampling & Sample Preprocessing
Matrix preprocessing
Centrifugation
Weighing
…
Inappropriate pre-analytical protocol
Torniquet release
Prolonged intermediate storing
Temperature
Time delay
…
Aliquoting
Final storage
Sample management
Biobanking
Freeze-thaw cycles
Stability issues
Resulting from inproper sample handling
Hydrolysis
Enzymatic reactions
Diffusion processes
Hemolysis
Intermediate storage & shipping
Sampling protocol
Date & Time
Sample ID
Processing & Shipping
?

## Slide 4
Planning of quantitative and relative quantitative LC-MS analytics
Batch Design
N1
N2
N3
Randomization
A
B
B
C
C
B
C
C
B
A
Batch Sequence
Bridging
Technical replicates
Robustness assessment
Calibration standards
Allow quantification
Blank samples
Baseline detection
Quality control
Intra-measurement robustness
Accuracy assessment
Control plasma
Inter-measurement robustness
…
…
DB
B
B
CS
CS
CS
CS
CS
CS
QC
QC
QC
QC
C
U
U
U
U
U
U
U
U
U
C
QC
QC
QC
QC
…
DB
B
QC
C
U
U
QC
U
U
U
U
U
U
U
U
U
U
QC
U
U
U
U
U
C
QC
relative quantitative
quantitative
DB
CS
QC
C
U
C
C
Batch 1
Batch 2
Batch 3
B
B

## Slide 5
Sample preparation & LC-MS analytics
Targeted analysis
Non-targeted
analysis
Entire substance space
MS/MS
HRMS
(U)HPLC
Extraction
SPE
LLE
…

## Slide 6
Data Integration & Processing
Concentration calculation
Peak identification & integration
Internal standard method
QC evaluation (acceptance criteria)
Missing value imputation
Normalization
Batch effect correction & scaling
Data analysis
Integration software
Plausibility checks

## Slide 7
Data Analysis
Classical statistics
Unsupervised ML
Supervised ML
Machine Learning
Pathway analysis
Biological context
Data enrichment
Clinical translation
Validation
Clinical utility
Evaluation of study goals
Decision making
PC1
PC2
Tuning
Data Analysis
Covariate adjustment

## Slide 8
Quality control & Quality assurance
Clinical data
Pre-analytical data
Analysis- & Metadata
Data storage
Clinical phase
Pre-analytical phase
Analytical phase
Data analysis
Explanatory (Input) variables
Outcome (Output) variables
QC
Achieves reproducibility
Gives confidence in results
Acceptance criteria